## Slide 1
Aortic Valve Repair:
A Modular (Standardized) Approach
H.-J. Schäfers
Dept. of Thoracic and Cardiovascular Surgery
Saarland University Medical Center
Homburg/ Saar, Germany

## Slide 2
THG
Limitations:
Purely echocardiographic, does not directly
relate to morphology/pathology
Does not provide morphologic cut-offs for
decision making
Insensitive in defining cusp prolapse in presence
of marked aortic dilatation
Type III does not differentiate between
restricion due to aortic dilatation and
restriction due to cusp degeneration/retraction
Notes: 2

## Slide 3
THG
Notes: 3

## Slide 4
Causes of Aortic Regurgitation
Aortic aneurysm
Aortic dissection
Congenital abnormalities
Myxomatous degeneration
Rheumatic disease
Infective endocarditis
Calcific degeneration
Cusp pathology
Root pathology
THG

## Slide 5
THG
Notes: ..und diese Höhe seit 1/2005 sowohl intraoperativ mittels einer Schublehre als auch echokardiografisch zur Objektivierung eines Taschenprolapses gemessen.
Patienten mit einer effektiven Höhe von mehr 8 mm wiesen eine kompetente Klappe auf.

## Slide 6
CE = π × [3/2×(a+b) - √a×b]
a
b ≈ raorta
a ≈ rcusp
rcusp ≈ 1 / raorta
Reduction of STJ and Cusp Prolapse
b
a‘
b‘

## Slide 7
Standardized Aortic Valve Repair
Valve morphology
Cusp pathology
Root pathology
THG
Assessment
Correction
Notes: 7

## Slide 8
Standardized Aortic Valve Repair
THG
Assessment root
Assessment cusps
Correction root
Correction cusps
Notes: 8

## Slide 9
Root Assessment
Echo:
Maximum sinus diameter ► >40 / 45 mm?
ST diameter ► >35 (?)
Annular diameter (?)
Intraoperative:
Annular diameter (!) ► >25 / 28 mm?
THG
Notes: 9

## Slide 10
AI und TTE/TEE
Root dimensions
AV morphology (bi-/tricuspid)
Prolapse
Calcification?

## Slide 11
Cusp Assessment
Echo:
Valve morphology?
Eccentricity of jet?
Intraoperative:
Valve Morphology?
Cusp height/configuration?
Cusp substance?
THG
Notes: 11

## Slide 12
AI und TTE/TEE
Root dimensions
AV morphology (bi-/tricuspid)
Prolapse
Calcification?

## Slide 13
AI und TTE/TEE
Root dimensions
AV morphology (bi-/tricuspid)
Prolapse
Calcification?

## Slide 14
Cusp Assessment
Morphology (commissural height):
Unicuspid
Bicuspid
Tricuspid
Quadricuspid
If non-tricuspid, watch for anatomical variation
Prolapse?
Retraction?
THG
Notes: 14

## Slide 15
Bicuspid Aortic Valve (BAV) Morphology
Sabet et al, Mayo Clin Proc, 1999;74:14-26
THG
180°
120°
179-121°
pattern of fusion
degree of fusion
commissural
orientation
Notes: 15

## Slide 16
Aortic Valve Repair - Assessment
Configuration of cusps
THG
Swanson, Circ Res 1974
?
Notes: 16

## Slide 17
effective height
1cm
Cusp Configuration
THG
Schäfers HJ et al, JTCVS 2006
Notes: 17
..und diese Höhe seit 1/2005 sowohl intraoperativ mittels einer Schublehre als auch echokardiografisch zur Objektivierung eines Taschenprolapses gemessen.
Patienten mit einer effektiven Höhe von mehr 8 mm wiesen eine kompetente Klappe auf.

## Slide 18: eH Measurement Error
Notes: If it is not you can easily underestimate or overestimate Eh

## Slide 19
THG
Configurationof cusps
Notes: 19

## Slide 20
Aortic Valve Repair - Assessment
Solutions
Configuration/coaptation of cusps
THG
Notes: 20

## Slide 21
Aortic Valve Repair - Assessment
Configuration/coaptation of cusps
THG
TAV: 17-22 mm
BAV: 20-25 mm
Notes: 21

## Slide 22
Root Correction
If
Sinus > 40 -45 mm
Root remodeling
(Valve reimplantation)
Sinus < 40-45
STJ remodeling
THG
Notes: 22

## Slide 23
Root Repair – Technical Options
(Yacoub 1993)
(Sinus > 45 mm),
(David 1992)
(AVJ ≥ 30 mm)
(Frater 1986)
(Sinus < 40-45 mm)
Reimplantation
of Aortic Valve
Root Remodeling
ST Junction
Remodelling
THG
Notes: 23

## Slide 24
Valve Sparing:
Our Routine
Measure gH and
proceed with VPS if
gH ≥ 18 mm
2. (Root remodeling) Take graft according to patient size
BSA < 1.8 m² 24 mm
1.8 to 2.2 m² 26 mm
>2.2 m² 28 mm (?)
if gH ≤ 20 mm consider graft 1 size less
THG
Notes: 24
..und diese Höhe seit 1/2005 sowohl intraoperativ mittels einer Schublehre als auch echokardiografisch zur Objektivierung eines Taschenprolapses gemessen.
Patienten mit einer effektiven Höhe von mehr 8 mm wiesen eine kompetente Klappe auf.

## Slide 25
AORTIC VALVE REPAIR
AV repair
Reimplantation
Remodeling
n=1832
04/10
THG
STJ remodeling ± AVR
Notes: 25

## Slide 26
Cusp Correction
If
prolapse (eH ≤ 8 mm)
structural defect
anatomical variant
Plication of free margin / triangular resection
Patch correction
Conversion of anatomy (BAV, TAV constant)
UAV ► BAV
QAV ► TAV
THG
Notes: 26

## Slide 27
Reconstructive Techniques
Cusp Pathology
Plication of
Cusp Margin
Prolapse
Notes: 27

## Slide 28
Reconstructive Techniques
Cusp Pathology
Triangular
Resection
Fibrosis,
Calcium,
Redundancy
THG
Notes: 28

## Slide 29
Reconstructive Techniques
Cusp Pathology
Stabilisation of
cusp (pericardium)
Fenestration

## Slide 30
Bicuspidization of the Unicuspid Aortic Valve
unicuspid
bicuspid
THG
Anderson RA, JHVD 2001
Notes: 30

## Slide 31
Aortic Valve Anatomy
Morphology Incidence Mean Age of Failure
Unicuspid < 1% 20s
Bicuspid 2% 60s
Tricuspid 97 %(?) ?
Quadricuspid < 1 % 40s
Roberts WC, Circulation
THG
Notes: 31

## Slide 32
Bicuspidization of the
Unicuspid Aortic Valve
THG
Schäfers HJ, ATS 2008
Notes: 32

## Slide 33
Bicuspidization of the
Unicuspid Aortic Valve II
THG
Notes: 33

## Slide 34
Reconstructive Techniques
Cusp Pathology
Conversion of
configuration
Anomaly
Schmidt et al., Ann Thorac Surg 2007
Notes: 34

## Slide 35
Annuloplasty
If
Basal diameter > 26-27 mm
Annular reduction
► 25 mm for BSA > 2 m²
► 23 mm for BSA < 2 m²
Reduce by 2 mm for
gH < 19 (TAV) / 22 (BAV) mm
THG
Notes: 35

## Slide 36
Repair – Technical Options
(Cabrol 1966)
Subcommissural
Plication
THG
?
Aortoventricular Stabilisation
(AVJ > 27mm)
Notes: 36

## Slide 38
Standardized Aortic Valve Repair
THG
No relevant calcification,
geometric cusp height > 17-20 mm
Decision for valve preservation
2. Sinus diameter > 40 -45 mm
(and /or BAV < 150° ?)
Root replacement
Notes: 38

## Slide 39
CE = π × [3/2×(a+b) - √a×b]
a
b ≈ raorta
a ≈ rcusp
rcusp ≈ 1 / raorta
Reduction of STJ and Cusp Prolapse
b
a‘
b‘

## Slide 40
Standardized Aortic Valve Repair
THG
3. If root + cusp necessary,
Root repair first (interaction between
intercommissural distance and cusp
configuration)
4. Annular stabilization (AI, durability)
5. Correction of cusp prolapse (eH)
Notes: 40

## Slide 41
Conclusions
Systematic analysis + correction of pathologic components
Many strategies defined
Normalize cusp configuration (effective height)!
Specific valve configurations require tailored approach
Notes: 41

## Slide 42: Aortic Valve Reconstruction

## Slide 43: Thank you for your attention
THG
Notes: 43
Dauer: 7 Minuten Vortrag; 3 Minuten Diskussion

## Slide 44
Aortic Valve Repair
-
Standardized Approach
H.-J. Schäfers
Dept. of Thoracic and Cardiovascular Surgery
University Hospital of Saarland
Homburg/ Saar
Germany
THG
Notes: 44